## Slide 1: New Water Sources for Controlled Environment Agriculture
David A. Ladner1
Weiming Qi1
Abayomi Alayande1
Jing-Hua Tzeng1
Byoung Ryong Jeong2
Gary L. Amy1
Seungkwan Hong3
Morgan Tomlin1
Hyun Uk Cho2
Shashi Kant1
Raghupathy Karthikeyan1
Saylen Sofia Paz1
Diana Vanegas1
Jeff Adelberg1
Clinton Williams4
1 Clemson University
2 Gyeongsang National University
3 Korea University
4 USDA Agricultural Research Service
Notes: This talk fits in with Myra Reece’s talk. Thinking about the future of water resources in South Carolina.

## Slide 2
Clemson University, Clemson, SC
Notes: Clemson infrastructure. River to lake/reservoir.

## Slide 3
Notes: Check out The Outfall podcast.

## Slide 4
Research Group Website
https://davidladner.org

## Slide 5
4201 2nd Street Southwest, Albuquerque, NM
Notes: The main message today is think differently about infrastructure. We need design engineers who have a vision. You need to have a mental model of how

## Slide 6
Controlled Environment Agriculture (CEA)
  Greenhouses or modular containers
  Controlled water, light, temperature, & ventilation
  Soil-based or hydroponic
  Vertical farming = vertically stacked layers
  Rural, peri-urban, and urban CEA
Inputs and outputs of CEA (Shamshiri et al., 2018)

## Slide 7: Hydroponic CEA Platform
High-value food crops that can be grown in hydroponic CEA
  Leafy greens, tomatoes, cucumbers, beans, and strawberries
  Water quality concerns:
    Impacts of water quality on crop yield
    Crop salt tolerance with saline/brackish water
    Pathogens with reclaimed municipal wastewater
    Plant bioaccumulation of metals etc. with urban stormwater
Nutrient delivery
  Nutrient Film Technique (NFT)
  NFT solution recycling
    Water and nutrient efficiency
    Plant pathogen control
Leafy greens Tomatoes Cucumber
Beans Strawberries
https://www.agritecture.com

## Slide 9: Water sources for agricultural irrigation
Conventional sources
  Freshwater from surface and groundwaters
  Increasingly impacted by regional droughts
Non-conventional (marginal quality) sources
  Saline/brackish surface and groundwaters (rural)
    Salinity
  Reclaimed municipal wastewater (centralized and decentralized)
    Human pathogens and chemical micropollutants, and plant pathogens
    Attribute: presence of nutrients (P & N)
  Urban stormwater (urban and peri-urban)
    Heavy metals, hydrocarbons, pesticides, PFAS, microplastics

## Slide 10: Reclaimed Wastewater CEA Platform
Municipal
/Domestic Wastewater
Decentralized
Anaerobic Membrane
Bioreactor (AnMBR)
+ UV Disinfection
Energy
(Methane)
Peri-Urban
Trunk Sewer
(Sewer
Mining)
Large-Scale
Residential Building
Plant Harvest
Wastes
Final
Return
Flow
Residual
Biosolids
High
-Value
Crops
Soil Conditioner
heat, air-con, or
CO2 enrichment
heat
Supplemental
Nutrients (N, P, K)
Crop Cultivation Platform
Hydroponic Approach
Greenhouse or
Modular Container
Vertical Farming
Nutrient Film Technique
Balancing
Nutrients
(N, P. K)
blowdown (based on ET & salinity)
Grinder
Recycling of
NFT Solution
(UF Filtration and/or UV)
High-Quality
Irrigation Water
w/ In Situ Nutrients
(N, P, K)
Decentralized integrated hydroponic CEA/NFT platform: Novel Wastewater Reclamation Scheme

## Slide 11
P: pressure
F: flowrate
O: ORP
C: conductivity
DP: differential pressure
Bioreactor volume: ～9.6 L
Temp: 35 °C
Typical HRT: 18 hr
Typical SRT: multiple months
Typical OLR: 4 g/L/day
Data acquisition: 4-5 Hz
The AnMBR system realizes full automation and high-frequency data acquisition.
Notes: “Given decentralized locations, we will avoid the complexity of primary clarification and provide course screening only. Our reason for initially studying 35 C is more effective mesophilic conditions provided by heating the wastewater by biogas combustion.”

## Slide 12
Refridgerator for temperature control
Electronics
Liquid handling hardware
Air compressor
Computer & UPS
Bioreactor
Water bath
Circulation pump
Backwash tank
An automated AnMBR was constructed for continuous operation with minimal operator time commitment.

## Slide 13
Accumulation tank
Balance
Receiver
Tubing
We built a flow meter using a balance and a “toilet” mechanism.

## Slide 14: Filtration, backwash, and cleaning conditions
Filtration:
  Duration: 30 minutes
  Flux: 3.4-9.4 LMH
  Crossflow velocity: 0.12 – 0.19 m/s
Backwash
  Trigger: every 30 minutes
  Duration: 5 seconds
  Strength: 169 LMH (limited by pump)
  DI water
Super backwash
  Trigger: TMP > 5 psi
  Duration: 30 seconds
  Strength: 169 LMH
  DI water
Notes: “Given decentralized locations, we will avoid the complexity of primary clarification and provide course screening only. Our reason for initially studying 35 C is more effective mesophilic conditions provided by heating the wastewater by biogas combustion.”

## Slide 15
Cleaning strategies are the combinations of backwash and CEB triggers.
  Backwash
    Time
    TMP
  Chemical enhanced backwash
    Time
    TMP
    Duration
Filtration is controlled with the following criteria
  Constant flux
  Constant TMP
  Constant pump speed
Qi, Weiming, & David A. Ladner. Journal of Environmental Engineering, 2023, 149(10): 04023063.
The program was coded in LabVIEW for full automation.

## Slide 16: We are augmenting the AnMBR with harvest waste for resource recovery.

## Slide 17: Harvest waste collection

## Slide 18: Cotreatment of harvest waste and municipal wastewater
How fermenter helps
Membrane performance
Bioreactor performance
Nutrients

## Slide 19: Membrane performance - Raw data

## Slide 20: Membrane performance – Raw data

## Slide 21: Membrane performance - Resistance

## Slide 22: Membrane performance - Resistance

## Slide 23: Bioreactor performance

## Slide 24: Nutrients - N

## Slide 25: Nutrients – P and K

## Slide 26
4201 2nd Street Southwest, Albuquerque, NM
Notes: The main message today is think differently about infrastructure. We need design engineers who have a vision. You need to have a mental model of how

## Slide 27: Partial Desalination Using Reverse Osmosis and Nanofiltration for Salt-Tolerant Hydroponic Crops
Jing-Hua Tzeng, David A. Ladner, W. Shane Walker, Clinton Williams, Geethakrishna Puligundla, R. Karthikeyan, & Gary Amy

## Slide 28
NF Partial Desalting Processes
Brackish
Waters
Hydroponic system
29
29
To develop a new paradigm of desalination for the agriculture sector,
  partial desalination (focus on NF innovations) whereby tailored water quality is produced in accordance with the salinity tolerance of target crops.
Goal
Low water use
No soil use
(Tzeng et al., Desalination 613 (2025) 119072)
Key Criteria
Water Quality
Recovery
(quantity)
Energy
1S-CR
1S-ISD
CC
2S
3S
1S
Notes: no soil
2 to 48 times less water use

## Slide 29
Save the freshwater for drinking water purposes
30
Water
Crop Yield, Water Quality (TDS) & Energy Consumption
of Different Desalting Scenarios
(Data source: Tzeng et al., (2025), Maas and Hoffman (1977), Wallender and Tanji (2011), and International Water Management Institute (IWMI, 2004).
Diluted Seawater (SW) @10,000 mg/L
simulate a coastal groundwater aquifer
Food
Specific Energy Consumption
(SEC)
~16 dS/m
Notes: Brackish water for agricultural purpose
Market

## Slide 30
Partial Desalting Process
Nanofiltration (NF)
Electrodialysis (ED)
1S
Brine
Management
Brine
Permeate/ Product
Reverse Osmosis (RO)
Complete Desalting Process
Brackish Waters
Blending
Desalting processes
Water Quantity:
Feed water (100%)
− Recovery %
(= Product/Feed)
= Brine %
31
Gary Amy
David Ladner
Clinton Williams
Jing-Hua Tzeng
Permeate/
Product water
Nutrient Solution Tank
w/ Water for plant growth
Nutrients Stock
Processed
Saline Water
Evaluation Criteria:
Specific Energy Consumption (SEC)
Recovery (%) (Water Quantity)
Water Quality (TDS)
1S-ISD
CC
1S-CR
2S
3S
Notes: Cost
Recovery%
Brine cost

## Slide 31
32
Feed Flowrate: 2.1 m3/h
Feed TDS: 10,000 mg/L
Variable:
  # of Stage: 1, 2, 3
  # of pressure vessels (PV): 1 per stage
  # of elements per PV:
    6 at 1st stage,
    2 to 4 at 2nd stage;
    3 at 3rd stage (2.5-inch element)
Feed pressure (1st stage): 10-40 bar
Boost pressure (2nd and 3rd stages): 20-40 bar
Concentrate recycle
Internally staged design (ISD)
Closed circuit
Membrane type: NF90, NF200, BW30
Input
Flowrate (m3/h): Feed, Conc., Permeate
Perm Flux (LMH)
Recovery (%)
Feed pressure (bar)
Water quality:
  TDS (mg/L): Feed, Conc., Perm.
  Ion concentration: Feed, Conc. Perm.
  pH
Utility & Chemical cost
  SEC (kWh/m3)
Output
WAVE
Nanofiltration (NF) Modeling
DuPont

## Slide 32
33
1S vs. 1S-CR
Max. pressure
CR = 70, 50 %
Higher
Recovery%
CR = 70, 50, 30 %
Concentrate
Permeate (Product)
Valve
1S-CR
Feed
1-stage
Pressure Vessel
Concentrate
Permeate (Product)
1S
Feed
CR 70%
CR 50%
CR 30%
Same pressure
CR 70%
CR 50%
As CR% Recovery% & SEC
NF90
NF90

## Slide 33
1S-ISD (Internally Staged Design)
34
Concentrate
Permeate (Product)
1S-ISD
Feed
Same pressure
Same pressure
# of Tighter membrane
Recovery%
SEC
# of Looser membrane
Recovery%
SEC

## Slide 34
CC (Closed Circuit)
35
Concentrate (periodic blowdown)
Permeate (Product)
CC
Feed
Membrane
Cross-section
8-inch
4-inch
NF90
# of elements
pressure & SEC
Size of elements
pressure &SEC
Input:
NF90, Recovery %

## Slide 35
Boost
2-stages
Concentrate
Permeate (Product)
2S
Feed
36
2S with various numbers of elements
1st stage
1st stage
1st stage
2nd stage
1st stage
2nd stage
2nd stage
2nd stage
1st stage
2nd stage
2nd stage
2nd stage

## Slide 36
Boost
2-stages
Concentrate
Permeate (Product)
2S
Feed
37
2S with various numbers of elements
@ Variable 1st Stage Pressures and
Constant 2nd Stage Pressures.
6:2
6:3
6:4
1st stage pressure
Recovery%
SEC
6:2
6:3
6:4
# of 2nd stage element
Recovery %
SEC
@ Constant 1st Stage Pressures and
Variable 2nd Stage Pressures.

## Slide 37
1st & 2nd stage pressure
Recovery% SEC
3rd stage pressure
Recovery% SEC
38
Boost
Boost
3-stages
Concentrate
Permeate (Product)
3S
Feed
3S

## Slide 38
Notes: The committee got together, kind of like the college football playoff selection committee. And we decided which configuration was best.

## Slide 39
General Rating of NF Processes based on the parameter chosen
40
Membranes | Configurations | TDS | Recovery | SEC
NF90 | 1S |  |  | 
 | 1S-CR |  |  | 
 | CC |  |  | 
 | 2S |  |  | 
 | 3S |  |  | 
NF90+NF200 | 1S-ISD |  |  | 
NF200 | 1S |  |  | 
 | 1S-CR |  |  | 
 | CC |  |  | 
 | 2S |  |  | 
 | 3S |  |  | 
High
Low
Rating
1S-CR
1S-ISD
CC
2S
3S
1S

## Slide 40
Ongoing Work
Bench-Scale Nanofiltration Experiments
41
Membrane properties:
  Surface charge
  Pore size
  Molecular weight cutoff (MWCO)
Operating Conditions:
  Applied pressure
  Flux
  Recovery

## Slide 41
Ongoing Work
Bench-Scale Electrodialysis Experiments
42
+
mCEM
mAEM
Product Water:
Ca2+, Mg2+, SO42-
Concentrate:
Na+, Cl-
Na+
Cl-
Cl-
Na+
Mg2+
SO42-
Feedwater:
Na+, Cl-, Ca2+, Mg2+, SO42-
+
CEM
AEM
Product Water:
Low in ions
Concentrate:
Na+, Cl-, Ca2+, Mg2+, SO42-
Na+
Cl-
Cl-
Na+
Mg2+
SO42-
Feedwater:
Na+, Cl-, Ca2+, Mg2+, SO42-
-
-
Monovalent selective
Conventional
Ion Exchange Membranes

## Slide 42
Acknowledgments
USDA-SAS Project Team members: David Ladner, Gary Amy, Clinton Williams, R. Karthikeyan, Azeezahmed Shaik, Chandrasekar S. Kousik, Rohit Dilip Kambale, Jeffrey Adelberg, Morgan Tomlin
Co-authors: W. Shane Walker, Robert Huehmer
Ladner Research Group members: Weiming Qi, Geethakrishna Puligundla, Riley Schrader, Anna Reynolds, Zachary Padgett, Spencer Jackson, Jackson Sholl, Olivia Mucci, Timothy Ziegler
Rich Lab: Daekyun Kim, Rodney Morgan, Kelli McCourt
USDA NIFA SAS Award # 2023-69012-39038: Controlled Environment Agriculture Platform for Cultivation of Salt-Tolerant Crops with Integrated Saline Water Irrigation and Salinity Management.
43

## Slide 43
Notes: This project is an international collaboration between S. Korea and S. Carolina. S. Korea is 38 degrees N. S. Carolina is 36 degrees N.

## Slide 44
Notes: Seoul is an amazing city. Very well organized. Great access to food. Great walkability. Many sustainability initiatives. Core message here: S. Korea is ahead of S. Carolina. Especially in population. Our goal today is to see where we want to take South Carolina into the future, especially with respect to agriculture and water treatment. When we look at S. Korea, we are looking at a possible future for S. Carolina. What lessons can we learn? How do we want to shape our state moving forward?

## Slide 45
Notes: In the heart of that municipal development are parks, recreation facilities, and wastewater treatment plants!

## Slide 46
Notes: The plant is underground.

## Slide 47
Notes: Advanced wastewater treatment: ozone/UV advanced oxidation.

## Slide 48
Notes: Reverse osmosis for salt removal. These kinds of plants, underground, can be distributed. Instead of Plumb Island, we could have several underground plants. Smaller, distributed, modular. And we can treat the water in the locations where the reuse is needed.

## Slide 49
Notes: So the wastewater treatment plants are underground and we found a greenhouse on top of a building.

## Slide 55
Notes: Growing food near population centers. In the suburbs. Energy intensive, yes. But has some advantages.

## Slide 56
Notes: Prof. SK Hong shows us a diagram of a wastewater treatment process flow.

## Slide 57
Notes: Key note: this is directly used for Samsung. They are mandated to use reclaimed wastewater rather than fresh water resources. This is an excellent model for South Carolina. New industry is moving in. They don’t need our fresh water supplies. Let’s have them build the wastewater reuse facilities they need.

## Slide 58
Notes: Their process water requirements are high, but they don’t need to worry so much about public perception and public health. This is why it makes sense to send our reclaimed water for industrial reuse.

## Slide 59
Notes: Professor Adelberg drank the Kool-Aid.

## Slide 60
Notes: Beautiful area. Growing rice.

## Slide 61
Notes: Rice being planted in a rural area. These valleys have been farmed for centuries. They understand nutrient cycling. As we in S. Carolina move toward the future, let’s think carefully about how we organize our agriculture/water systems to achieve the same sort of sustainability. And let’s use the lessons learned from population centers in other places in the world, to predict the future and shape it according to the way we want it to be.

## Slide 62
Notes: Our trip shifted to the rural areas.

## Slide 63: Acknowledgements
Award #2230696
Notes: This talk fits great with Myra Reece’s talk. waterSC group can learn from examples like S. Korea.

## Slide 64
Notes: Hydrogen peroxide and UV advanced oxidation kills viruses.

## Slide 65
Notes: So the key question for us is where to put these kinds of facilities? S. Korea has them covering the valleys. Mountainous areas are preserved. For South Carolina, where do we want to go? Use brownfield and industrial areas. Let’s preserve the farmlands, forest-lands, etc. We can grow so much food in the city!

## Slide 66
Notes: Strawberries are an example crop.

## Slide 67
Notes: These folks know about nutrient cycling and protection of groundwater.

## Slide 68
Notes: Fertilizer application is where we see nutrient cycling. For S. Carolina, if we can move toward wastewater reclamation, we can potentially recover nutrients.